## Sheet1
Date/time (local/GMT -3) | Date/time (GMT) | Event | Weather | Remarks | Sampling frequency (s) | Suspect data due to midday saturation | Folder name | File number | Depth (m)
*** File timestamps prior to 12/7/15 are incorrect
2015-11-04 16:10 | 2015-11-04 19:10 | LTER Event #1 | Overcast, 15-20 kts wind; one lonely Adelie came to inspect our operation on the sea ice | Depth profile through bore hole at Arthur Harbor ice station, 64°46.260'S, 064°3.346'W, ice thickness 66.4 cm, snow depth 35.5 cm | Manual | None | irrad0_0000 | 1 | 0
[8 empty] | 2 | 5
[8 empty] | 3 | 4.5
[8 empty] | 4 | 4
[8 empty] | 5 | 3.5
[8 empty] | 6 | 3
[8 empty] | 7 | 2.5
[8 empty] | 8 | 2
[8 empty] | 9 | 1.5
2015-11-15 08:55 | 2015-11-15 11:55 | LTER Event #5 | 7/10ths clouds, with sun shining through at times | Depth profile through bore hole at Arthur Harbor ice station, 64°46.260'S, 064°3.346'W, ice thickness 87 cm - 13.3 cm freeboard, snow depth 35.5 cm | Manual | None | irrad0_0000 | 1 | 0
[8 empty] | 2 | 1
[8 empty] | 3 | 1.5
[8 empty] | 4 | 2
[8 empty] | 5 | 2.5
[8 empty] | 6 | 3
[8 empty] | 7 | 3.5
[8 empty] | 8 | 4
[8 empty] | 9 | 4.5
[8 empty] | 10 | 5
[8 empty] | 11 | 5.5
[8 empty] | 12 | 6
[8 empty] | 13 | 6.5
[8 empty] | 14 | 7
[8 empty] | 15 | 7.5
[8 empty] | 16 | 8
[8 empty] | 17 | 8.5
[8 empty] | 18 | 2
[8 empty] | 19 | 1.5
[8 empty] | 20 | 1
[8 empty] | 21 | 0.5
2015-12-07 13:48 | 2015-12-07 16:48 | UV-Ox Expt #1 - static profiles | Overcast | In Palmer deck aquarium | Manual | None | irrad0_0000 | 22 | 1 m above aquarium water surface (open air)
[8 empty] | 23 | 1 m above aquarium water surface (open air)
[8 empty] | 24 | 1
[8 empty] | 25 | 0.5
[8 empty] | 26 | immediately above water surface
[8 empty] | 27 | immediately above water surface
2015-12-07 16:30 | 2015-12-07 19:30 | UV-Ox Expt #1 - static profiles | Overcast | In Palmer deck aquarium | Manual | None | irrad0_0000 | 28 | open air at top of aquarium
|  |  |  | 0.4 m depth is just below where sample bags were circulating around in tank |  |  |  | 29 | 0.4
12/7/15 16:29 - 12/12/15 8:29 |  | UV-Ox Expt #1 - time series profiles |  | 1 min interval profiles at 0.4 m; corrected instrument time to correct local time | 1 min | ? | irrad0_0000-irrad0_0067 | 30 in irrad0_0000 - 37 in irrad0_0067 | 0.4
2015-12-15 11:07 | 2015-12-15 14:07 | Station B profile (no LTER Event #) | Overcast w/low loud ceiling; glassy calm (literally, no wind) | Station B; have surface PAR reference data in notebook | Manual | None | irrad0_0000 | 0 | 8
[8 empty] | 1 | 7.5
[8 empty] | 2 | 7
[8 empty] | 3 | 6.5
[8 empty] | 4 | 6
[8 empty] | 5 | 6
[8 empty] | 6 | 5.5
[8 empty] | 7 | 5
[8 empty] | 8 | 4.5
[8 empty] | 9 | 4
[8 empty] | 10 | 3.5
[8 empty] | 11 | 3
[8 empty] | 12 | 2.5
[8 empty] | 13 | 2
[8 empty] | 14 | 1.5
[8 empty] | 15 | 1
[8 empty] | 16 | 0.5
[8 empty] | 18 | open air, just above water surface
Formulas:
Date/time (GMT) = [Date/time (local/GMT -3)]+TIME(3,0,0)